## Slide 1: Transformers
Textbook Section 23-10
Physics 1161: Lecture 14
Notes: 1

## Slide 2: Transformers
Increasing current in primary creates an increase in flux through primary and secondary.
~
e
iron
Vs
Vp
Same DF/Dt
Energy conservation! IpVp = IsVs
R
(primary)
(secondary)
NS
NP
Key to efficient power distribution

## Slide 3: Transformers
Key to Modern electrical system
Starting with 120 volts AC
  Produce arbitrarily small voltages.
  Produce arbitrarily large voltages.
Nearly 100% efficient

## Slide 4: Checkpoint Transformer 1
The voltage difference across the resistor R is 1. V 2. V N1/N2 3. V N2/N1 4. 0

## Slide 5: Checkpoint Transformer 2
When the switch is closed, the ammeter shows 1. I=0 2. I quickly jumps to a non-zero value and then
quickly returns to zero. 3. I is a steady non-zero value.

## Slide 6: Checkpoint Transformer 3
How does IR compare to the current that is drawn from the AC source Iin? IR < Iin IR = Iin IR > Iin

## Slide 7: Checkpoint Power Line
Power is transferred from the power plant to your house through high voltage power lines because:
Generators at power plants operate at high voltages.
It will decrease power losses.
The power company wants to deter people from climbing
the lines.

## Slide 8: Checkpoint Transformer
The good news is you are going on a trip to France. The bad news is that in France the outlets have 240 volts. You remember from Phy1151 that you need a transformer, so you wrap 100 turns around the primary. How many turns should you wrap around the secondary if you need 120 volts out to run your hair dryer?
~
e
iron
Vs
Vp
R
1) 50 2) 100 3) 200
(primary)
(secondary)
NS
NP

## Slide 9: Checkpoint Transformer
The good news is you are going on a trip to France. The bad news is that in France the outlets have 240 volts. You remember from Phy1161 that you need a transformer, so you wrap 100 turns around the primary. How many turns should you wrap around the secondary if you need 120 volts out to run your hair dryer?
~
e
iron
Vs
Vp
R
1) 50 2) 100 3) 200
(primary)
(secondary)
NS
NP

## Slide 10: A 12 Volt battery is connected to a transformer that has a 100 turn primary coil, and 200 turn secondary coil. What is the voltage across the secondary after the battery has been connected for a long time?
Vs = 0
Vs = 6 V
Vs = 12 V
Vs = 24 V

## Slide 11: A 12 Volt battery is connected to a transformer that has a 100 turn primary coil, and 200 turn secondary coil. What is the voltage across the secondary after the battery has been connected for a long time?
Transformers depend on a change in flux so they only work for alternating currents!
Vs = 0
Vs = 6 V
Vs = 12 V
Vs = 24 V

## Slide 12: In a transformer the side with the most turns always has the larger peak voltage. (T/F)
True
False

## Slide 13: In a transformer the side with the most turns always has the larger peak voltage. (T/F)
True
False

## Slide 14: In a transformer the side with the most turns always has the larger peak current. (T/F)
True
False

## Slide 15: In a transformer the side with the most turns always has the larger peak current. (T/F)
True
False

## Slide 16: In a transformer the side with the most turns always dissipates the most power. (T/F)
True
False

## Slide 17: In a transformer the side with the most turns always dissipates the most power. (T/F)
True
False